## Result sheet
Method name: 230214 roFPs TFP scan (Modified)
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2109002885
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦INJ:V3.1.1¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2023-02-14
Time: |  |  |  | 1:08 PM
System |  |  |  | TECAN2-LOOGERLA
User |  |  |  | TECAN2-LOOGERLA\TECAN2
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent Cat. No.: 655101/655161/655192
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Intensity Scan Bottom Reading |  |  |  |  | roFPs p1 TFP oxidized
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | F1-H12
Mode | Fluorescence Intensity Scan Bottom Reading
Name | roFPs p1 TFP oxidized
Scan selection |  |  |  | Excitation Scan
Excitation wavelength start [nm] |  |  |  | 375
Excitation wavelength end [nm] |  |  |  | 480
Excitation wavelength step size [nm] |  |  |  | 5
Excitation scan number |  |  |  | 22
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 510
Emission bandwidth [nm] |  |  |  | 10
Gain Manual |  |  |  | 80
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 30453
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | F1-H12
Start Time |  |  |  | 2023-02-14 13:02:43
Temperature [°C] |  |  |  | 28
Wavel. | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
375 | 4422 | 3458 | 2177 | 5031 | 3615 | 1653 | 1867 | 3872 | 1462 | 2015 | 3425 | 1602 | 2598 | 1962 | 2540 | 2688 | 2215 | 5671 | 2423 | 2355 | 2072 | 2467 | 2302 | 1882 | 1522 | 3005 | 3638 | 2988 | 4343 | 2637 | 3833 | 2750 | 3567 | 3607 | 3381 | 3264
380 | 5245 | 4002 | 2416 | 5794 | 4171 | 1849 | 2039 | 4379 | 1594 | 2249 | 3875 | 1762 | 2931 | 2161 | 2846 | 2985 | 2480 | 6292 | 2719 | 2652 | 2334 | 2755 | 2570 | 2088 | 1642 | 3470 | 4490 | 3523 | 5441 | 3169 | 4798 | 3208 | 4698 | 4214 | 4421 | 3853
385 | 5792 | 4490 | 2537 | 6245 | 4594 | 1970 | 2100 | 4665 | 1622 | 2350 | 4093 | 1840 | 3137 | 2233 | 3008 | 3093 | 2625 | 6564 | 2896 | 2818 | 2472 | 2922 | 2702 | 2151 | 1710 | 3767 | 5296 | 3910 | 6558 | 3620 | 5695 | 3534 | 6103 | 4629 | 5773 | 4293
390 | 6410 | 5058 | 2708 | 6774 | 5047 | 2115 | 2210 | 4885 | 1665 | 2486 | 4323 | 1942 | 3342 | 2351 | 3224 | 3174 | 2789 | 6843 | 3095 | 3033 | 2628 | 3134 | 2816 | 2246 | 1797 | 4132 | 6393 | 4395 | 7949 | 4222 | 6938 | 3918 | 8026 | 5117 | 7625 | 4818
395 | 6759 | 5454 | 2740 | 7113 | 5288 | 2278 | 2220 | 4902 | 1668 | 2521 | 4277 | 1947 | 3411 | 2356 | 3279 | 3085 | 2825 | 6730 | 3169 | 3093 | 2700 | 3196 | 2853 | 2248 | 1869 | 4333 | 7439 | 4711 | 9308 | 4846 | 8118 | 4209 | 10323 | 5380 | 9756 | 5177
400 | 6968 | 5779 | 2802 | 7378 | 5424 | 2452 | 2224 | 4841 | 1657 | 2519 | 4208 | 1945 | 3479 | 2364 | 3337 | 2907 | 2849 | 6525 | 3227 | 3149 | 2753 | 3260 | 2814 | 2243 | 1999 | 4490 | 8651 | 5014 | 10858 | 5567 | 9542 | 4453 | 13281 | 5578 | 12627 | 5521
405 | 7132 | 6173 | 2839 | 7680 | 5570 | 2703 | 2269 | 4788 | 1672 | 2574 | 4195 | 1975 | 3542 | 2389 | 3477 | 2743 | 2923 | 6392 | 3357 | 3257 | 2827 | 3380 | 2803 | 2276 | 2189 | 4611 | 10178 | 5327 | 12862 | 6500 | 11390 | 4730 | 17575 | 5682 | 16748 | 5841
410 | 6886 | 6243 | 2765 | 7499 | 5399 | 2825 | 2234 | 4518 | 1628 | 2513 | 3988 | 1948 | 3468 | 2320 | 3413 | 2434 | 2869 | 5959 | 3324 | 3207 | 2793 | 3350 | 2643 | 2222 | 2374 | 4550 | 11366 | 5380 | 14479 | 7235 | 12871 | 4796 | 21985 | 5483 | 20958 | 5866
415 | 6623 | 6413 | 2678 | 7494 | 5288 | 3049 | 2210 | 4386 | 1625 | 2525 | 3829 | 1939 | 3504 | 2307 | 3454 | 2099 | 2880 | 5683 | 3337 | 3246 | 2839 | 3360 | 2535 | 2232 | 2728 | 4523 | 13132 | 5500 | 16874 | 8376 | 15034 | 4945 | 28461 | 5275 | 27117 | 5998
420 | 6522 | 6750 | 2734 | 7768 | 5307 | 3392 | 2315 | 4423 | 1696 | 2644 | 3896 | 2019 | 3654 | 2405 | 3644 | 1855 | 3022 | 5693 | 3508 | 3403 | 2961 | 3507 | 2498 | 2339 | 3290 | 4631 | 15263 | 5823 | 19664 | 9846 | 17784 | 5248 | 36561 | 5248 | 34375 | 6268
425 | 6123 | 6828 | 2645 | 7763 | 5085 | 3573 | 2312 | 4455 | 1735 | 2705 | 3939 | 2048 | 3783 | 2419 | 3675 | 1570 | 3106 | 5728 | 3574 | 3457 | 3002 | 3588 | 2392 | 2401 | 3908 | 4549 | 16821 | 5887 | 21738 | 10970 | 19687 | 5325 | 44516 | 4879 | 42449 | 6270
430 | 5347 | 6595 | 2477 | 7472 | 4633 | 3650 | 2299 | 4587 | 1729 | 2743 | 4044 | 2075 | 3862 | 2434 | 3676 | 1288 | 3157 | 5867 | 3550 | 3454 | 2996 | 3551 | 2274 | 2456 | 4599 | 4316 | 17739 | 5677 | 23092 | 11791 | 21027 | 5186 | 52873 | 4291 | 50346 | 6003
435 | 4840 | 6573 | 2399 | 7386 | 4393 | 3781 | 2351 | 5045 | 1845 | 2921 | 4469 | 2206 | 4147 | 2534 | 3840 | 1128 | 3364 | 6509 | 3724 | 3597 | 3149 | 3720 | 2277 | 2638 | 5662 | 4250 | 19146 | 5638 | 25130 | 13019 | 22953 | 5232 | 64534 | 3882 | 61521 | 5902
440 | 4424 | 6557 | 2377 | 7351 | 4252 | 3888 | 2442 | 5639 | 1939 | 3144 | 4988 | 2337 | 4446 | 2662 | 4053 | 1045 | 3604 | 7276 | 3902 | 3789 | 3308 | 3917 | 2336 | 2819 | 7042 | 4263 | 20540 | 5600 | 27194 | 14267 | 24914 | 5314 | 76765 | 3567 | 73125 | 5901
445 | 4106 | 6414 | 2330 | 7189 | 4080 | 3883 | 2494 | 6091 | 1979 | 3246 | 5381 | 2391 | 4633 | 2746 | 4170 | 984 | 3742 | 7903 | 4021 | 3893 | 3408 | 4028 | 2355 | 2944 | 8724 | 4278 | 21244 | 5461 | 28432 | 15145 | 26065 | 5341 | 85843 | 3333 | 82173 | 5709
450 | 3849 | 6234 | 2272 | 6967 | 3942 | 3712 | 2480 | 6361 | 1983 | 3305 | 5622 | 2407 | 4739 | 2761 | 4208 | 917 | 3806 | 8232 | 4065 | 3906 | 3417 | 4061 | 2332 | 2993 | 10592 | 4258 | 21110 | 5293 | 28593 | 15512 | 26379 | 5269 | 91812 | 3122 | 87896 | 5532
455 | 3725 | 6088 | 2240 | 6757 | 3870 | 3419 | 2479 | 6730 | 2021 | 3413 | 5935 | 2480 | 4869 | 2785 | 4243 | 878 | 3895 | 8747 | 4098 | 3939 | 3457 | 4090 | 2335 | 3061 | 13050 | 4357 | 20510 | 5139 | 28187 | 15628 | 26137 | 5164 | 97943 | 2994 | 94155 | 5432
460 | 3660 | 5934 | 2252 | 6549 | 3888 | 3219 | 2503 | 7139 | 2053 | 3496 | 6314 | 2532 | 5057 | 2854 | 4358 | 865 | 4051 | 9278 | 4212 | 4050 | 3543 | 4188 | 2379 | 3168 | 15400 | 4524 | 19831 | 5036 | 27783 | 15635 | 25952 | 5123 | 105738 | 2970 | 101615 | 5289
465 | 3496 | 5339 | 2223 | 5857 | 3723 | 2883 | 2484 | 7272 | 2015 | 3372 | 6397 | 2459 | 4871 | 2717 | 4330 | 814 | 3916 | 9465 | 4179 | 3997 | 3516 | 4184 | 2350 | 3091 | 16872 | 4511 | 18524 | 4570 | 26435 | 15039 | 24854 | 4878 | 109667 | 2830 | 105315 | 4829
470 | 3161 | 4375 | 2073 | 4734 | 3361 | 2509 | 2372 | 6968 | 1796 | 2981 | 6121 | 2184 | 4332 | 2405 | 4158 | 775 | 3471 | 9052 | 4014 | 3871 | 3381 | 4014 | 2236 | 2765 | 18038 | 4306 | 16908 | 3775 | 24775 | 14182 | 23428 | 4479 | 106954 | 2580 | 102628 | 3973
475 | 2716 | 3252 | 1848 | 3496 | 2842 | 2242 | 2181 | 6068 | 1509 | 2452 | 5319 | 1800 | 3496 | 1936 | 3854 | 714 | 2818 | 7855 | 3760 | 3582 | 3122 | 3693 | 2078 | 2252 | 20144 | 3999 | 15593 | 2815 | 23259 | 13357 | 22105 | 4086 | 95198 | 2213 | 91234 | 3021
480 | 2319 | 2343 | 1645 | 2499 | 2417 | 2064 | 2054 | 4987 | 1220 | 1934 | 4366 | 1460 | 2739 | 1526 | 3592 | 681 | 2224 | 6496 | 3479 | 3363 | 2935 | 3478 | 1930 | 1779 | 25093 | 3877 | 15051 | 2079 | 22975 | 13050 | 21634 | 3792 | 79011 | 1927 | 75799 | 2222
End Time | 28 F4: 2023-02-14 13:08:45