## Result sheet
Method name: 230214 roFPs TFP scan
Application: SparkControl |  |  |  | V3.1 SP1
Device: Spark |  |  |  | Serial number: 2109002885
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦INJ:V3.1.1¦STACKER:V1.0.3¦PODI:V1.11.2
Date: |  |  |  | 2023-02-14
Time: |  |  |  | 1:00 PM
System |  |  |  | TECAN2-LOOGERLA
User |  |  |  | TECAN2-LOOGERLA\TECAN2
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent Cat. No.: 655101/655161/655192
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Intensity Scan Bottom Reading |  |  |  |  | roFPs p1 TFP reduced
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | F1-H12
Mode | Fluorescence Intensity Scan Bottom Reading
Name | roFPs p1 TFP reduced
Scan selection |  |  |  | Excitation Scan
Excitation wavelength start [nm] |  |  |  | 375
Excitation wavelength end [nm] |  |  |  | 480
Excitation wavelength step size [nm] |  |  |  | 5
Excitation scan number |  |  |  | 22
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 510
Emission bandwidth [nm] |  |  |  | 10
Gain Manual |  |  |  | 80
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 30453
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | F1-H12
Start Time |  |  |  | 2023-02-14 12:54:50
Temperature [°C] |  |  |  | 27.5
Wavel. | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
375 | 3779 | 4632 | 2105 | 4745 | 2928 | 1812 | 2069 | 5383 | 1880 | 2695 | 5079 | 2120 | 3691 | 2635 | 2827 | 3663 | 3011 | 7120 | 2838 | 2912 | 2411 | 2834 | 2820 | 2398 | 1590 | 3675 | 4304 | 3931 | 5163 | 2856 | 4187 | 2348 | 3878 | 2885 | 3792 | 4439
380 | 4228 | 5356 | 2248 | 5444 | 3244 | 1977 | 2235 | 5995 | 1990 | 2949 | 5594 | 2284 | 4083 | 2877 | 3217 | 3982 | 3321 | 7884 | 3180 | 3217 | 2681 | 3174 | 3133 | 2594 | 1668 | 4203 | 5243 | 4522 | 6351 | 3304 | 4978 | 2603 | 4985 | 3207 | 4850 | 5125
385 | 4430 | 5834 | 2294 | 5958 | 3395 | 2043 | 2337 | 6220 | 2011 | 3040 | 5829 | 2325 | 4263 | 2944 | 3431 | 4066 | 3426 | 8204 | 3375 | 3412 | 2836 | 3416 | 3242 | 2637 | 1678 | 4500 | 6067 | 4913 | 7506 | 3665 | 5668 | 2757 | 6335 | 3405 | 6222 | 5585
390 | 4691 | 6425 | 2386 | 6565 | 3602 | 2227 | 2479 | 6445 | 2046 | 3198 | 5981 | 2419 | 4477 | 3077 | 3746 | 4148 | 3583 | 8510 | 3705 | 3707 | 3065 | 3720 | 3427 | 2734 | 1748 | 4877 | 7293 | 5381 | 9061 | 4220 | 6684 | 2985 | 8286 | 3608 | 8178 | 6166
395 | 4769 | 6709 | 2384 | 6842 | 3631 | 2374 | 2550 | 6339 | 2023 | 3172 | 5866 | 2389 | 4481 | 3058 | 3971 | 3921 | 3587 | 8284 | 3889 | 3870 | 3220 | 3942 | 3486 | 2728 | 1809 | 5072 | 8448 | 5643 | 10567 | 4685 | 7628 | 3137 | 10647 | 3682 | 10456 | 6440
400 | 4791 | 6967 | 2385 | 7137 | 3651 | 2548 | 2651 | 6139 | 2006 | 3147 | 5692 | 2375 | 4509 | 3044 | 4238 | 3704 | 3595 | 8045 | 4157 | 4102 | 3438 | 4206 | 3531 | 2716 | 1954 | 5169 | 9762 | 5839 | 12290 | 5301 | 8783 | 3270 | 13640 | 3715 | 13414 | 6625
405 | 4777 | 7213 | 2400 | 7351 | 3632 | 2801 | 2859 | 6043 | 2032 | 3187 | 5564 | 2384 | 4523 | 3037 | 4625 | 3425 | 3608 | 7893 | 4526 | 4408 | 3689 | 4573 | 3634 | 2789 | 2175 | 5323 | 11503 | 6006 | 14620 | 6064 | 10301 | 3475 | 18106 | 3694 | 17903 | 6849
410 | 4452 | 6976 | 2297 | 7092 | 3422 | 2953 | 2913 | 5679 | 1964 | 3065 | 5206 | 2296 | 4419 | 2909 | 4843 | 2978 | 3497 | 7339 | 4701 | 4579 | 3881 | 4855 | 3560 | 2702 | 2380 | 5163 | 12893 | 5813 | 16491 | 6626 | 11505 | 3506 | 22688 | 3464 | 22468 | 6648
415 | 4122 | 6841 | 2217 | 7010 | 3239 | 3191 | 3089 | 5389 | 1976 | 3046 | 4979 | 2284 | 4357 | 2803 | 5234 | 2524 | 3475 | 6972 | 5104 | 4879 | 4176 | 5226 | 3580 | 2708 | 2806 | 5009 | 14832 | 5719 | 19096 | 7528 | 13259 | 3662 | 29529 | 3278 | 29105 | 6444
420 | 3874 | 6849 | 2197 | 6971 | 3127 | 3563 | 3406 | 5420 | 2077 | 3169 | 4957 | 2350 | 4524 | 2876 | 5838 | 2174 | 3594 | 6983 | 5716 | 5416 | 4672 | 5879 | 3741 | 2836 | 3460 | 5045 | 17299 | 5722 | 22455 | 8754 | 15460 | 3896 | 37783 | 3148 | 37265 | 6460
425 | 3461 | 6488 | 2102 | 6648 | 2884 | 3734 | 3624 | 5461 | 2110 | 3234 | 4978 | 2395 | 4579 | 2833 | 6331 | 1762 | 3639 | 6990 | 6179 | 5853 | 5038 | 6367 | 3814 | 2916 | 4114 | 4812 | 19025 | 5428 | 24839 | 9656 | 17107 | 3979 | 46041 | 2828 | 45410 | 6023
430 | 2906 | 5823 | 1921 | 5915 | 2500 | 3800 | 3796 | 5611 | 2132 | 3270 | 5146 | 2403 | 4634 | 2795 | 6713 | 1395 | 3697 | 7219 | 6579 | 6207 | 5366 | 6793 | 3846 | 3023 | 4897 | 4416 | 20106 | 4879 | 26689 | 10259 | 18137 | 3884 | 54747 | 2382 | 54144 | 5367
435 | 2486 | 5356 | 1847 | 5500 | 2245 | 3976 | 4142 | 6255 | 2293 | 3438 | 5695 | 2532 | 4959 | 2867 | 7466 | 1197 | 3920 | 8048 | 7302 | 6837 | 5937 | 7537 | 4134 | 3249 | 6023 | 4227 | 21811 | 4533 | 29352 | 11196 | 19764 | 3952 | 67048 | 2054 | 66140 | 4938
440 | 2183 | 5018 | 1782 | 5153 | 2058 | 4107 | 4546 | 6991 | 2428 | 3685 | 6424 | 2685 | 5319 | 3020 | 8298 | 1094 | 4206 | 9092 | 8063 | 7581 | 6552 | 8350 | 4478 | 3520 | 7499 | 4122 | 23458 | 4233 | 31991 | 12184 | 21237 | 4050 | 79631 | 1826 | 78663 | 4580
445 | 1923 | 4674 | 1732 | 4832 | 1863 | 4091 | 4835 | 7641 | 2502 | 3822 | 6946 | 2760 | 5520 | 3074 | 8941 | 1008 | 4349 | 9902 | 8734 | 8165 | 7050 | 9044 | 4757 | 3669 | 9157 | 4025 | 24465 | 3937 | 33976 | 12836 | 22333 | 4060 | 89447 | 1614 | 88360 | 4243
450 | 1727 | 4353 | 1639 | 4494 | 1710 | 3908 | 5004 | 7966 | 2520 | 3873 | 7293 | 2785 | 5635 | 3068 | 9382 | 937 | 4404 | 10393 | 9153 | 8557 | 7366 | 9486 | 4929 | 3746 | 10957 | 3910 | 24505 | 3649 | 34563 | 13010 | 22381 | 3974 | 95250 | 1444 | 94350 | 3960
455 | 1592 | 4105 | 1597 | 4210 | 1601 | 3675 | 5250 | 8400 | 2557 | 3992 | 7721 | 2849 | 5801 | 3120 | 9861 | 880 | 4533 | 10998 | 9637 | 9017 | 7731 | 10003 | 5153 | 3845 | 13265 | 3926 | 23953 | 3422 | 34635 | 12966 | 22110 | 3867 | 102009 | 1327 | 101052 | 3734
460 | 1525 | 3911 | 1595 | 3980 | 1546 | 3438 | 5516 | 8984 | 2625 | 4073 | 8192 | 2903 | 5950 | 3171 | 10493 | 860 | 4645 | 11744 | 10226 | 9490 | 8164 | 10649 | 5422 | 3973 | 15319 | 3963 | 23378 | 3259 | 34473 | 12787 | 21830 | 3749 | 109894 | 1277 | 108837 | 3557
465 | 1423 | 3398 | 1532 | 3468 | 1431 | 3115 | 5580 | 9108 | 2559 | 3921 | 8325 | 2782 | 5702 | 2999 | 10640 | 810 | 4438 | 11955 | 10355 | 9675 | 8297 | 10829 | 5509 | 3867 | 16634 | 3865 | 21818 | 2901 | 33032 | 12127 | 20678 | 3524 | 113699 | 1190 | 112540 | 3157
470 | 1270 | 2733 | 1432 | 2757 | 1285 | 2809 | 5443 | 8673 | 2296 | 3414 | 7873 | 2449 | 4971 | 2592 | 10399 | 761 | 3891 | 11328 | 10146 | 9454 | 8148 | 10567 | 5346 | 3447 | 17779 | 3588 | 20316 | 2322 | 31472 | 11332 | 19495 | 3248 | 110598 | 1077 | 109530 | 2574
475 | 1092 | 2028 | 1265 | 2049 | 1079 | 2520 | 5067 | 7477 | 1889 | 2714 | 6848 | 1955 | 3958 | 2088 | 9778 | 694 | 3095 | 9860 | 9509 | 8808 | 7628 | 9910 | 5018 | 2814 | 19537 | 3195 | 19041 | 1747 | 30288 | 10547 | 18313 | 2966 | 98217 | 933 | 97270 | 1981
480 | 969 | 1514 | 1158 | 1497 | 958 | 2331 | 4768 | 6122 | 1521 | 2115 | 5594 | 1545 | 3019 | 1583 | 9167 | 656 | 2408 | 8005 | 8977 | 8333 | 7173 | 9333 | 4725 | 2226 | 23995 | 2985 | 18757 | 1319 | 30541 | 10220 | 17777 | 2802 | 81077 | 834 | 80489 | 1490
End Time | 27.5 F4: 2023-02-14 13:00:48